

**BID DOCUMENT**

**For**

**Purchase of Capital Items**

**(Furniture, Electric and Office Equipment Items etc.**

**For Sheikhupura Zone**

**Tender Notice No. 01/SKP/Capital Items/2024**

**(Secretary)**

Zonal Procurement Committee

State Life Insurance Corporation of Pakistan

Sheikhupura Zone

Al-Sharif Plaza, Opposite Children Hospital,

Sargodha Road, Sheikhupura

Tel: # 0345-4272429, Mobile: 0335-0407998

**INTRODUCTION:**

The State Life Insurance Corporation of Pakistan is the largest Life Insurance Institution in Pakistan providing Life and Group Insurance protection to over 6 million people. Even after the introduction of private insurance companies, State Life still enjoys the lion’s share of the Pakistan life insurance industry. Presently, Corporation intends to purchase Office Furniture, Electric Items, Multi Media, Laptop and Printer etc. for our Sheikhupura Zone (Al-Sharif Plaza, opposite. Children Hospital, Sargodha Road, Sheikhupura).

Detail specification and quantities for required items/equipment’s/work is as under:

**Bill of Quantities (B.O.Q)**

**Lot Summary:**

|  |  |  |
| --- | --- | --- |
| **Lot No. Details** | **Lot Title** | **Items No. included** |
| Lot No. 01 | Furniture & Fixture Items | Item Sr. 1 to Sr. 10 |
| Lot No. 02 | Computers, Laptop, Printers, Multi Media | Item Sr. 11 to Sr. 14 |
| Lot No. 03 | Generator | Item Sr. 15 |
| Lot No. 04 | Glass Partition | Item Sr. 16 |
| Lot No. 05 | CCTV System and Cabling & Networking | Item Sr: 17 |
| Lot No. 06 | Electric/Electronic Items | Item Sr. 18 to Sr. 20 |
| Lot No. 07 | Office Equipment | Item Sr. 21 to Sr. 24 |

**FURNITURE& FIXTURE ITEMS** Lot 01

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item # | Details | Specification | | Qty. | Prices including all taxes | | | |
| Unit Price | Total Price | | |
| 1 | Revolving Chair  (01 HRDD + 02 Sector Heads + 07 for Zonal Office) | Best quality imported Mid back chair seat & back thick Mesh jack class II base aluminum chair picture Attached  **(As per sample picture)** | | 10 |  |  | | |
| 2 | Table with side rack  (01 HRDD + 05 for Zonal Office) | Size: (5’x3’) Table with Long Side Rack Table All Structure MDF tactail sheet Al-noor. All edges covered with 2mm PVC edges same colour of sheet, Fort CNC MDF Jali Silver paint Color, table 3 Drawer best Quality railing with lock and 1 door cabinet  **(As per sample picture)** | | 06 |  |  | | |
| 3 | Visiting Chairs (Cushioned)  (03 HRDD + 06 Sector Office + 04 Sector Office Clerk) | Structure made of solid sheesham wood seat and back with 1st quality foam covered with leatherette wooden parts finished with NC lacquer  **(As per sample picture)** | | 13 |  |  | | |
| 4 | Table with side rack  (Sector Office) | Size: (5’x3’) Table with Long Side Rack Table All Structure MDF tactail sheet Al-noor, All edges covered with 2mm PVC edges same colour of sheet, Fort CNC MDF Jali Silver paint Color, table 3 Drawer best Quality railing with lock and 1 door cabinet **(As per sample picture)** | | 02 |  |  | | |
| 5 | Computer Table with side rack  (Sector Office Clerk) | Size: 4’ x 2.5’Table with Long Side Rack Table All Structure MDF tactail sheet Al-noor, All edges covered with 2mm PVC edges same colour of sheet, Fort CNC MDF Jali Silver paint Color, table 3 Drawer best Quality railing with lock  **(As per sample picture)** | | 02 |  |  | | |
| 6 | Computer Chairs (Sector Office Clerk) | Seat & back best quality foam and imported back mesh injection molded structure connected with arm seat tilt manumission with hydraulic function high quality plastic base urethane wheel castors **(As per sample picture)** | | 02 |  |  | | |
| 7 | Sofa set 5Seater (3+2)  (Sector Office) | Traditional Executive Sofa inner structure frame in wood including all necessaries joiner detail with quality of button detailing seat and back and arms best quality **MASTER MOLTY** foam with imported leather right upholstery legs solid wood with polished.**(As per sample picture)** | | 02 |  |  | | |
| 8 | Center Table  (Sector Office) | Center table (4’x2’) with 2 Corner tables (2’x2’) each made by ash wood with polish finish top 8 mm glass.  **(As per sample picture)** | | 02 |  |  | | |
| 9 | Roller Blinds  (Sector Office, 150 sqft per Office) | Made of Vinyl Fabric with coating, High Quality Chain and Machine Complete in all respect of individual windows size, with complete installation, of Approved color.  **(Note: Payment will be made as per actual measurement).** | | 300  Sq.ft  (approx) |  |  | | |
| 10 | Coat Stand  (Sector Office) | Coat Stand A-Grade Sheesham | | 02 |  |  | | |
| **COMPUTER, LAPTOP, PRINTER AND MULTI MEDIA** Lot 02 | | | | | | | | |
| 11 | Laser Jet Printer  (01 HRDD + 02 Sector Office) | **HP Laser Jet M402dn or equivalent**  Print speed black, Paper size A4, legal  Up to 38 ppm (default) ; Up to 40 ppm (HP High Speed) 1, First page out black (A4, ready), As fast as 6.3 sec 2 , Duplex printing Automatic (default), Duty cycle (monthly, A4),Up to 80,000 pages 3 (Duty cycle is defined as the maximum number of pages per month of imaged output. Print quality black (best)Fine Lines (1200 x 1200 dpi), Print technology Laser, Connectivity, standard, 1 Hi-Speed USB 2.0; 1 host USB at rear side; Gigabit Ethernet 10/100/1000, Network capabilities, Built-in10/100/1000Base-TX Ethernet, Gigabit; Auto-crossover, Display2-line backlit LCD graphic display, Processor speed 1200 MHz, Memory256 MB,Storage100 sheet multipurpose Tray 1, 250 sheet input Tray 2Paper handling output, standard150 sheet output bin  Weight 8.56 kg, Availability of Toner in local market. Warranty at least one year (Local) | | 03 |  |  | | |
| 12 | Laptopwith Licensed Software  (HRDD) | | **Dell / HP or equivalent**  12th Gen, Core i3 Processor Speed 2.5 Ghz Turbo Boost 4.40 Ghz, Ram 8-GB DDR-V, Hard Disk SSD 256-GB, Hard Disk Sata 512-GB, Screen Size 15.6’’, Screen FHD Display, Connectivity 10/100/1000 Ethernet card with Giga bit support -Wifi - Blue Tooth, Connectors USB 3.0(2), HDMI, Headphone Output, USB type C, Operating System MS Windows 10 or higher. Licensed, MS office current version and Antivirus Licensed, Warranty 1 year or higher Local. | 01  No. |  | |  |
| 13 | Multi Media | | HP, SAMSUNG or equivalent, Display System: 1-chip DLP, Native Chip Resolution: 800x600 (SVGA), Supported Resolutions: Minimum VGA-640x480 Maximum. Max Brightness: 3600 Lumens. Aspect Ration Native:4:3. WUXGA-1920x1200. Color Depth: 10-Bit (1.07 Billion Color). Warranty 01 year with parts & Labor at site. | 01  No. |  | |  |
| 14 | Computers with Windows Software  (Licensed) | | **HP/DELL or equivalent**  Processor Intel Core i7, Latest Generation or Higher Processor speed 2.50 GHz Turbo Boost upto 4.40 GHZ RAM 8 GB DDR-V RAM or Higher extendable to 16 GB Hard Disk SSD 500 TO 1 TB, Hard disk-SATA 1TB, Graphic Card Graphics card compatible with supplied motherboard Connectivity 10/100/1000 Ethernet Card with (Giga Bit Support) WIFI Connectors USB 3.0(2), HDMI Head Phone output USB Type C, LCD Minimum 19" HD-SVA Anti-glare Display Operating System MS windows 11 or latest Operating System (OEM Release), Software MS-Office current version licensed, Anti-Virus licensed, I/O Branded USB-K-Board & Mouse. WARRANTY 1 YEAR Or higher, local | 02  No. |  | |  |

**GENERATOR Lot 03**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item # | Details | Specification | Qty. | Prices including all taxes | |
| Unit Price | Total Price |
| 15 | Generator  (Zonal Office) | Cummins or equivalent, Supply, Installation, testing and commissioning of brand new 100 KVA Diesel Generator Set, Prime Output, 100 KVA/80 KW, Standby Output, 110 KVA/88KW, Frequency, 50Hz, Phases 3, Power Factor 0.8, 3 pole circuit breaker, Ambient Temperature, 50degree centigrade, Engine Speed, 1500 RPM, 1500 RPM, 06, Aspiration, Turbo Charged & Charge Air, Governor Type, Mechanical, Starting Voltage, 24V DC, Fuel Tank Capacity, To cater for 8 Hrs consumption at prime load, Alternator Brand, Leroy Somer–(Verifiable from manufacturer website), Alternator Output, 100kVA (Prime) /110kVA, Excitation, Self-Excited/ Shunt, Voltage, 380-415 Volts, 3 phase, Power Factor, 0.8, Insulation Class, H, Voltage Regulation, IP23, Voltage Regulation, ±0.1%, Batteries, 2 x 12 V of suitable AH, long life, rugged, lead acid maintenance free, Imported or Pak made under license with warranty card, Control System, Deep Sea Latest Model Digital microprocessor-based controller with LCD display, indicating operational status, fault conditions, all parameters and alarms and emergency stop, Documents, User Operation & Maintenance manual, wiring diagram of control penal. PEC Certificate (EE04, ME03), Sound Proof Canopy, Weather & Sound Proof Canopy with 85dbA sound level at 1 meter, Power Cable, 4C-50mm, Earth Cable, 1C-25mm, Control Cable, 4C-2.5mm, Earthing, 02 Jobs complete in all respect, Foundation Pad, 01 Job Construction of Foundation Pad | 01 |  |  |
| **GLASS PARTITIONS Lot 04** | | | | | |
| 16 | Glass Partitions | 1. Providing and installing of 12 mm thick clear Glass by Ghani or Tariq or equivalent, 16 Nos. of Door - 6.5’x3.5’ including all partitions and doors. The structure is to be made of 2 mm thick aluminum 'H' Section having height of 90 mm of silver/ Champaign matt finish, 2. heavy duty imported door opening machine (Minimum 1- year Warranty, Stainless steel door handle set 18" or 24" long, locking arrangement complete in all respects as per drawings with name plate bucket. 3. Paling Filling required above the Glass partition up to ceiling 4. Rate must be quoted as per running foot of glass partition, door and paling   The measurement of the Glass and Number and size of doors may increase/decrease as per the requirement | 1,696sq.ft.  Approx.Glass |  |  |

**NOTE:** payment will be made as per actual measurement.

**CCTV SYSTEM AND CABLING Lot 05**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item # | Details | Specification | Qty. | Prices including all taxes | |
| Unit Price | Total Price |
| 17 | 32 Channel NVR with CCTV Cameras | 32 Channel Video Recorder:-  Al by Device: Facial Recognition, Perimeter protection, motion detection 2.0, Face picture comparison, human face capture, face picture search.  Facial Detection and Analytics Performance.  4-Ch human face capture (HD network Camera, up to 4MP, H.264/H.265)  Incoming Bandwidth: 256 Mbps, Decoding Format: H.265+/H.265/h.264+/H.264 Recording.  Resolution:-  12MP/08 MP/ 06 MP/05 MP/04 MP/ 03 MP/ 1080p/UXGA/720p/VGA/4CIF/DCIIIF/CIF/QCIF  HDMI 1 & 2 Output 4K (3840 \*2160) 30Hz, 2K (2560\*1440)/60Hz 1920\*1080/60Hz, 1600\*1200/60Hz, 1280\*1024/60Hz, 1280\*720/60Hz, 1024\*768/60Hz  VGA output 1920\*1080/60Hz, 1600z1200/60Hz, 1280z1024/60Hz, 1280z720/60Hz  Two WAY Audio 1-Ch, RCA (2.0 Vp-p, 1K)  Stream Type: Video, Video & Audio, Dual-Stream Recording Support, Serial Interface 2 RS-485(Hduplex), 1- RS-232 SATA Interface: 4 SATA Interface Up to 10 TB Capacity for each disk  **Hard Disk:- 2HDDs 4TB Each**  Network Interface 2 RJ-45 10/100/100 Mbps self-adaptive Ethernet.  Supported USB Interface Front Panel:- 2\*USB 2.0: Rear Panel: 1\*USB 3.0 I eSATA  **IR IP CAMERA, 4.0 Megapixel High Resolution, HD Video Output, Low Illumination:-**  IR Range: Up to 30 m Wavelength 850mm True Day / Night, lens 2.8mm, 4mm, 6mm  Video Compression: H.265/H.264/MJPEG, Bit rate 32Kbps-8Mbps, Max Image Resolution: 2560\*1440, Frame rate (50Hz: 20fp0s(2560\*1440), 25fps (304\*1296,1920\*1080,1280\*720)  60Hz:20fps(2560\*1440)30fps(2304\*1296,1920\*1080,1280\*720)  Alarm Trigger: Motion detection, tampering alarm, network disconnect, IP address conflict.  Security: User Authentication, watermark, Communication interface: I RJ45 10M/100M Ethernet interface, power supply: 12VDC+10%, PoE (802.3af) Weather proof rating IP66, IR Range Approximately 20-30 meter.  **LED 52” (HD)**  Complete work in all respects with cables CAT-6, POE Switches, RJ 45 Connectors and ducting.  Warranty at least one year (Local).  **NOTE: 1) Bidders must visit the site before quoting the Rates.**  **2) Including all installations, labor, delivery, Ready to use basis. The quantity might be increased or decreased on need basis. The Total Bill would be reflection of items consumed.** | 2  One Job  02  25  03 |  |  |

**ELECTRIC & ELECTRONIC ITEMS ETC** Lot 06

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item # | Details | Specification | Qty. | Prices including all taxes | |
| Unit Price | Total Price |
| 18 | Air conditioners 1.5 Ton (Invertor)  (Sector Office) | **(Gree/Haier/Dawlance**  Invertor or equivalent)  **18000 BTU** (1.5 Ton), wall mounted type, Voltage level 220-240V (Both heating & Cooling functions) with low voltage support, LED Display, Remote Control, Auto restart, 10 years compressor warranty, 04 years electronic PCB kit warranty, 02 years condenser & evaporator coil warranty, 01 year parts & service warranty. Iron Frame for AC 1.5 Ton to fit Condenser, Drain Pipe (as per layout), Electric Wiring/Power Cable (as per layout), Circuit Breaker (Bush) as per layout, PVC Duct for Refrigerator Pipe (as per layout), Extra Refrigerator Pipe (As per need). Complete installation of Air conditioners (indoor & outdoor unit) along with standard piping & wiring of 10 feet each.  **Note:** please also quote rates of cooling pipe per sq.ft. Separately. | 02 |  |  |
| 19 | Ceiling Fan  (Sector Office) | Royal or equivalent with copper winding, 56” | 04 |  |  |
| 20 | Water Dispenser  (Sector Office) | PEL/Gree or Equivalent  Type sleek design, Colour White, Dimension (WxDxH) 310x375x1190 mm, Voltage /Frequency 220/50 (Volts/Hz), Cooling Current 0.6 amperes, Heating Current 2.2 amperes, Cooling power 100 watts, Cold Tank capacity 3.7 liters, Refrigerator volume 20 Liters. | 02 |  |  |

**Office Equipment** Lot 07

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item # | Details | Specification | Qty. | Prices including all taxes | |
| Unit Price | Total Price |
| 21 | Carpet/Floor Paneling  (Sector Office) | Vinyl or PVC wooden Flooring or equivalent | 600 Sqft |  |  |
| 22 | Wall Paneling  (Sector Office) | PVC Wall Paneling | 1100  Sqft |  |  |
| 23 | Wall Clock  (Sector Office) |  | 02 |  |  |
| 24 | Telephone Set  (Sector Office) | Panasonic or equivalent,  Branded with Led Display | 02 |  |  |

**TECHNICAL BID EVALUATION CRITERIA:**

Technical bid will be evaluated on the basis of following points:

|  |  |  |  |
| --- | --- | --- | --- |
| **SR. #** | **DESCRIPTION** | **POINTS** | **POINTS OBTAINED** |
| 1 | 1. Certificate of Sole Proprietorship/Company/Firm Registration/Incorporation under the Laws of Pakistan (02 points) | 10 |  |
| 1. Valid Income Tax (NTN) and General Sales Tax (GST) Registration Certificate along with Active Status of NTN & GST (02 points) |
| 1. Duly Signed and Stamped Letter of Warranty |
| 1. Signed and Stamped an affidavit (e-stamp paper Rs.100 or above) in respect of Non-Blacklisting duly attested by Notary Public. (02 points) |
| 1. Manufacturer/Principal Authorized Dealer/Distributor/General Order Supplier Certificate of Brands Quoted for (Lot 02) Electric Items. (02 points) |
|  | **FIRM /COMPANY PROFILE**:  Years of Operations (from Registration Date of NTN/FBR)  One (1) point for one (1) year experience | 10 |  |
| 2 | **TAX RETURN**  Income Tax Returns for the last 3 Years | 10 |  |
| 3 | **RELEVANT EXPERIENCE**  Similar assignments / supplies over last 03 years.  Five (05) points for one (1) similar experience | 15 |  |
| 4 | **FINANCIAL POSITION / BANK STATEMENT**  If the bank balance up to 30th June 2024 is equal to or more than estimate of the current purchase, full marks may be awarded.  Otherwise, the marks may be awarded as:  Closing Balance x 05  Estimate of Current Purchase | 15 |  |
| 5 | Number of existing clients provided with similar items  (05 points for each Corporate / Multinational /Govt./Semi-Govt. Client) | 20 |  |
| 6 | List of Professionals on permanent strength – for fixing and after Sales Services (05 points for each personnel) | 20 |  |
| **Total Points** | | **100** |  |

**NOTE: 1) Minimum 70 points are required for Technical Qualification.**

**2) Registration for NTN/GST is mandatory else the bid will be rejected.**

|  |  |
| --- | --- |
| I, Bidder have read & understand all above scope of work and following terms & conditions of this tender, further I am agreed and abide these terms. Further subsequently submit my offer in prescribed table,  **Delivery and after Sales Service of Consignment:** | |
| Delivery and after Sales Service of items at State Life Insurance Corporation of Pakistan at Sheikhupura zone, Opposite. Children Hospital, Sargodha Road, Sheikhupura. | |
| Bidder Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eligibility of Applicants (Provide affidavit)**  Applicants cannot apply if they:-   1. Are non-registered company/firm. 2. Are bankrupt or in process of going to bankrupt. 3. Have been convicted for an offence concerning the professional conduct. 4. Have not fulfilled obligations related to payment of taxes. 5. Are found guilty of serious mis-interpretation/mis-representation of facts in supplying information.   **Check list by bidder: (please mark)**  My technical bid is in a booklet form, each page numbered, page index and having following information:-   |  |  |  | | --- | --- | --- | | 01 | NTN & Sales Tax Certificates |  | | 02 | Registered Dealer/Supplier/Manufactures certificate |  | | 03 | The bidder must have an Office at Lahore |  | | 04 | List of technical staff with contact Nos. |  | | 05 | Satisfactory reports/work orders from previous 2 clients for same type of work completed in the year 2023 – 2024. |  | | 06 | Affidavit of Rs. 100 or more after observing eligibility criteria |  | | 07 | Warranty certificate as per tender requirements |  | | 08 | Acceptance of terms and conditions of tender documents in a clear manner |  | | 09 | Provided samples for items of Lot 01. |  | | 10 | Rates quoted as per directions (per Cabin/Counter rate) |  | | | | | |
|  | **TERMS AND CONDITIONS:** |  |  |  |
| 1- | Bidders should provide the name of firm, complete postal address, Telephone No; email address. Only Sales Tax/NTN registered dealers/suppliers/manufacturers can participate in tender, they must have office in Lahore along with required technical staffs, provide certificate/details. | | | |
| 2- | Bidders are required to submit/upload their bids **(Technical Proposal and Financial Proposal)** on PPRA website (EPADS). | | | |
| 3- | No Bid will be accepted without earnest money & other than EPAD Platform. Bidding Documents are available on PPRA website (EPADS), State Life website. | | | |
| 4- | Initially Technical Proposals will be opened in the office of Secretary RPC, State Life, Sheikhupura Zone, Oppt. Children Hospital, Sargodha Road, Sheikhupura, on the date and time as specified, in the presence of bidders or their representatives. Time and date for opening of Financial Proposals will be announced after finalization of Technical Evaluation. | | | |
| 5- | There will be a two-stage evaluation of bids. Minimum overall 70% is required for the bidders to technically qualify. Financial bid of only technically qualified bidders will be opened. | | | |
|  | 1. Experience of bidders in sales / marketing of relevant equipment. 2. Financial Capabilities. 3. Number of existing clients provided with similar equipment. 4. List of professionals on permanent strength for installation and after sales services.   **(Technical evaluation of bids / point scoring criteria is available with bidding document).** | | | |
| 6- | Most advantageous Bid would be accepted (job/Lot wise).It is necessary that bidder must quote all the items of respective lot, in case of missing of any item; their bid will be rejected. | | | |
| 7- | Financial Proposals shall accompany a Pay Order/Bank Draft of the 10% of the total bid amount (Job/Lot) in favour of State Life Insurance Corporation of Pakistan as bid security. The same will be returned to un-successful bidders after completion of formal procedure and to successful bidder after satisfactory delivery of all items. However earnest money of successful bidders shall be retained by SLIC as performance security and subsequent warranty for guarantee period. | | | |
| 8- | All the bids must include all government taxes. Bids excluding taxes will not be accepted. | | | |
| 9- | The quantity of items may be increased/decreased at the time of award of work order. | | | |
| 10- | If the successful bidder fails to supply the items as per purchase order, the bid security will be forfeited. In case of a genuine reason regarding delay in delivery the successful bidder shall inform immediately. The extension in the delivery time is the discretion of State Life. | | | |
| 11- | Competent Authority reserves the right to reject all bids/skip item(s) at any time prior to acceptance of a bid or proposal in the light of PPRA rules. | | | |
| 12- | All the information provided by the bidder must be verifiable. | | | |
| 13- | Earnest money of the successful bidder will be forfeited if the items are not delivered within due time/extended delivery time or as per approved quality. | | | |
| 14- | The validity of tender will be 31-12-2024 from the date of opening the tender. | | | |
| 15- | Income Tax & General Sales Tax as per government rule will be deducted at the source from the payment. | | | |
| 16- | Supply items shall be brand new & according to tender specification. Any defective delivery / Material will be replaced by supplier at his own risk & cost. | | | |
| 17- | Successful bidder will have to provide samples of each item**(Lot 01)**, which will be examined by Zonal Procurement Committee, Supply / Work Order shall be issued upon grant of Final approval of sample by Regional Procurement Committee Members. | | | |
| 18- | The supplier will be responsible for installation of furniture / fixture/Computer. Printers, Multi Media/Glass Partitioning/Electric/Electronics items etc. at site | | | |
| 19- | The bidder shall execute work at his own cost and Quality of work shall be inspected before final payment, subsequently bidder shall be responsible to fulfill requirement (if any)as per site w/r to committee proposal. | | | |
| 20- | Bidder shall provide 1-year guarantee certificate of its performed work, any repair shall be free of cost including labor & material within guarantee period by bidder. | | | |
| 21- | Bidders are encourage to visit office before submission of bid for their ease as Samples are available at office. | | | |
| 22- | BLACK LISTING POLICY: In case of negligence of the bidder causing damage to STATE LIFE in terms of time or cost, STATE LIFE has the right to take action against the bidder as per State Life Blacklisting policy / PPRA Rules. | | | |
| **(Secretary)** | | | | |
| Zonal Procurement Committee | | | | |
| State Life Insurance Corporation of Pakistan | | | | |
| Sheikhupura Zone | | | | |
| Al-Sharif Plaza, Opposite Children Hospital,  Sargodha Road, Sheikhupura | | | | |
| Tel: # 0345-4272429 Mobile: 0335-0407998 | | | | |

|  |
| --- |
| **PICTURES SECTION (LOT 01)** |
| **NOTE:** Pictures are only for general observations, follow specifications  mentioned in tender documents. |

|  |  |  |
| --- | --- | --- |
| **Item Sr.** | **Title of Item** | **Sample Picture** |
| 1 | Executive Chairs | C:\Users\USA\Downloads\WhatsApp Image 2024-08-13 at 5.42.11 AM.jpeg |
| 6 | Table with Side Rack  (5' x 3') | C:\Users\USA\Downloads\WhatsApp Image 2024-08-23 at 2.49.08 AM.jpeg |
| 9 | Visting Chairs | C:\Users\USA\Downloads\WhatsApp Image 2024-08-23 at 2.49.11 AM.jpeg |
| 10 | Sofa Set 6 Seater (3+2) | C:\Users\USA\Downloads\WhatsApp Image 2024-08-15 at 2.56.18 AM.jpeg |
| 11 | Centre Table Set | C:\Users\USA\Downloads\WhatsApp Image 2024-08-23 at 2.49.11 AM (2).jpeg |