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INVITATION TO BID

State Life Insurance Corporation of Pakistan (Real Estate Division) invites e-PADS bids from the original authorized distributors/ suppliers/ Contractors etc., having minimum 05 Years of relevant experience and are on active tax payers on for SUPPLY, INSTALLATION AND COMISSIONING OF NEW SLUDGE PUMP (02 NOS) 3HP (03 PHASE) AT STATE LIFE TOWER (PLOT-61) JINNAH AVENUE, BLUE AREA, ISLAMABAD The firms should have proper office, telephone number, N.T.N and should be duly registered with e-PADS, PEC, FBR on the ATL & GST list.

Bidding documents, containing detailed terms and conditions, etc. are available for download at State life’s website www.statelife.com.pk free of cost.

The bids, prepared in accordance with the instructions in the bidding documents, submitted through e-PADS on or before 19-08-2026 at 11:00 am as stipulated by e-PADS will be opened on the same day at 11:30am.  This advertisement has been published via PPRA e-PADS website.

Any bid submitted other than e-PADS would not be considered.




  
								
DGM/ INCHARGE (Real Estate),
Ground Floor, State-Life Building #5,
Phase-I, Jinnah-Avenue, Islamabad.
Ph:051-9204743
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TENDER DOCUMENT

FOR

Supply, installation and commissioning of new sludge pump (02 Nos.) 3HP 
 (03 PHASE) At State Life Tower (Plot-61) Jinnah Avenue Blue Area Islamabad

TENDER NO.SLIC/SludgePump/ISB/01/2026



From:

Real Estate Department,
State Life Insurance Corporation of Pakistan, Islamabad.

[bookmark: bookmark4]

[bookmark: bookmark8]TERMS AND CONDITIONS/SPECIAL CONDITIONS

	1.
	Nature of Job
	Supply, installation and commissioning of new sludge pump (02 NOs) 3HP (03 PHASE) At State Life Tower (Plot-61) Jinnah Avenue Blue Area Islamabad

	2.
	Place of submission of Tender.
	e-PADS.

	4.
	Time of completion of work from the date of commencement of work
	45 Days.

	5.
	Black Listing
	As per State Life Insurance blacklisting procedure in light of PPRA – Rule-19.

	6.
	Risk & Cost
	If the consultant fails to execute the job in given time and beyond 45 days of notice issued, State Life may get the remaining works executed through other consultant at his risk & cost.

	7.
	Bidding Document
	The bidding document must be dully signed along with official seal affixed on every page before uploading to PPRA e-PADs.

	8.
	Release of Retention Money
	On Completion of defect liability period.

	9.
	Tender-Bid Security.
	Rs.30,000/- in the shape of pay order / bank draft in favor of State Life Insurance Corporation of Pakistan.

	10.
	Release of Bid Security.
	To the unsuccessful bidder on the acceptance of the bid  of successful bidder. While to the successful bidder it will be released upon completion of the job.

	11.
	Mode of payment
	On completion of project.

	
12.
	Amount Of Liquidated Damages
	0.025% of the contract amount per day (maximum 10% of contract amount)

	13.
	Defect Liability period
	Six (06) Months after Completion of work

	14.
	Date of commencement
	Within 07 (Seven) days from the date of acceptance of letter of award.

	15.
	Deduction of taxes
	All applicable government taxes (federal & provincial) including income tax, GST, SST tax (if applicable) etc. will be deducted.

	16.
	Bid Validity
	120 Days




SCOPE OF WORK
1. Supply, installation, testing and commissioning of 02 Nos. automatic sludge pumps, 3 HP, 3-phase.
2. Supply and installation of control panel and auto on/off float switch.
3. Supply and installation of 2-inch PVC piping and fittings.
4. Supply and installation of 3-core power cable and all electrical accessories.
5. Supply of steel wire, clamps, solvent, supports and allied accessories.
6. Testing, commissioning and demonstration of complete system, including all labor, transportation, contractor profit, labor charges, income tax should be included in profit prices, and complete in all respects and to the entire satisfaction of the site incharge.
7. Removal of defects during defect liability period. i.e., six months. 


Bill of Quantities

	S. No.
	DESCRIPTION
	UNIT
	Qty.
	RATE
	AMOUNT

	01
	Supply, installation, testing and commissioning of make GRUNDFOS/ TSURUMI/ HK/ KSB (Hungry, Us, Japan) or equivalent automatic SLUDGE Pump 3-HP (03 Phase) with auto on/off float switch with control wire and control panel for State Life Tower, Islamabad complete in all respects, Including all labor, transportation, contractor profit, labor charges, income tax should be included in profit prices, and complete in all respects and to the entire satisfaction of the site Incharge.
	



each
	



02
	




	





	02
	Supplying and installation of PVC pipe of size 2” dia/ outgoing pipe of length 65feet (4M) for connection of SLUDGE SUCTION Pump 3HP for State Life Tower Islamabad complete in all respect and to the entire satisfaction of the site Incharge.
	

Sft
	

10
	


	



	03
	Supply and installation of Fast/ Newage/ Pakistan/ GM made or Equivalent electric cable 3-core electric cable of size 110/76 (70-MTR)   complete in all respect and to the entire satisfaction of the site incharge.
	
Mtr
(M2)
	

70
	


	



	04
	Supply and installation of UPVC Band Elbows of size 2” dia and UPVC band sockets of size 2” dia / outgoing pipe best quality for connecting of pipes with SLUDGE pump for State Life Tower Islamabad, complete in all respect and to the entire satisfaction of site incharge.
	

each
	

24
	


	



	05
	Supply of pipe hanging clamp, solution/ solvent etc.
	each
	LM
	
	

	06
	Supply of steel wire 60ft to hang pipe and cable inside the well for connection of sludge pump at State Life Tower Islamabad, complete in all respect and to the entire satisfaction of site incharge.
	

Ft
	

120
	


	



	
	Net Total Estimated Cost (included all taxes )
	  


Note:  
· The above rates shall be inclusive of all taxes, including PST, profits, overheads, miscellaneous charges, Levis etc. as prevailing during the course of contract period.



[bookmark: bookmark13]Mandatory Requirement

This Invitation for Bids is open to all bidders meeting the following Mandatory requirements:
· Valid FBR/ NTN registration.
· Valid SST / GST registration.
· Bank Statement for one year.
· PEC registration in minimum CE-10 Category, having specialization code ME-03.
· Undertaking that participating firm / company is Not backlisted by any of Provincial or Federal Government Department, Autonomous body or Private Sector Organization anywhere in Pakistan.
· Firms which have minimum 5 years of experience in relevant field (proof of work should be furnished).
· Company profile.
· Bid Security.
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